Title: Presenting a PCS database to predict cooling and heating effect

Introduction

- PCS have been largely studied in recent years for their great potential of reducing cooling and heating energy consumption while maintaining thermal comfort

- Some reviews have attempted to compile the effects of the most studied systems, but product configuration, design and use can affect those results greatly

- There are not many easy-to-use tools that allow this estimation, which produces a market barrier for the expansion of the use of PCS. One of the main problems is that PCS provide a localized effect that cannot be estimated with the most widely known thermal comfort models (adaptive and PMV).

- Recently, a platform with CBE ABC (…) thermal comfort model has been launched, giving easy access to a multimodal thermal comfort model that can simulate local and non-uniform effects on the human body. Although many physiological multi-node models are available in the literature (JOS3, Fiala,…), the CBE ABC is one of the few that can output a prediction of thermal sensation, which is necessary to understand human response to PCS.

Aim:

- Create a database of personal conditioning systems (PCS) based on manikin-measured data to estimate the cooling and heating effects from a physiological and subjective point of view.

- This effort is separated in 3 steps: 1) measuring and compiling a broad range of PCS tested in different positions and activation levels, including market-ready and prototype systems. 2) Connecting the results to the CBE ABC model platform and simulating thermal perception. 3) Comparing the ABC model-predicted thermal sensation to human subjects to verify the applicability of ABC to PCS use and fine-tune it to fans.

- The database provides sufficient information about the test to ensure transparency and replicability. The database is open access and can be expanded to include new systems and data sets. The benefits of this effort relate to bridging the gap of easy access and estimations of PCS cooling and heating potential for designers, operators and product developers.

Method:

- 20 PCS have been applied to a manikin in a climate chamber in USYD under 3 temperatures (18, 22, 25, 28 ºC)

- Additionally, data from previous studies [ref] have been compiled to building a broader database. To do that, a base spreadsheet was developed to standardise the collected information.

- The data sets were processed in phyton to calculate the cooling and heating effect based on the manikin data, according to equations 1, 2 and 3.

- The skin temperature per body part, adjusted to a manikin with 16 body parts, was applied to ABC model to simulate thermal sensation (7-point scale) and comfort (9-point scale). Calculate thermal sensation offset.

- Human subject responses from experiments [ref] under corresponding conditions tested with the manikin were processed to calculate thermal sensation offset

- Convective heat transfer coefficient calculation to fine tune ABC model

Results:

- Present database structure

- Present link to ABC platform

- Graph 1: Manikin CE and HE, a) 22, b) 28

- Graph 2: TSV offset ABC model, a) 22, b) 28

- Graph 3: TSV offset human subject experiments, a) 22, b) 28

Discussion

- How the database bridges the gap between research and industry

- How the results from HS relate to ABC model predictions

- What else can be done with this

- Limitations

Conclusion

This paper presented …